Cost Details:    Pimpri Block: Akole Dist: Ahmednagar

| Sr. No. | Budget Head | Volume (cum) / Unit (no) | Rate (Rs) | Total Cost (Rs) | Local Contribution (15% of total cost except sr. no D) | Total Grant Required (Rs) | Total Grant Required (US$) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| (1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) |
| A] | Digging of trench for Pipeline (0.45 Wide and 0.75 deep) | 580 | 12 | 6960.00 |  |  |  |
|  | Cost of pipes, Rising main | 210 | 128.70 | 27027.00 |  |  |  |
|  | Cost of pipes, Distribution system | 380 | 60.67 | 23054.00 |  |  |  |
|  | Assembling charges |  | Lumpsum | 4000.00 |  |  |  |
|  | Stand post 4 | 4 | 350 | 1400.00 |  |  |  |
|  | Air valve, non return valve etc |  |  | 10920.00 |  |  |  |
| Sub total A] |  |  | 73361.00 | 11004.00 | 62357.00 | 1386 |
| B] | 7.5 HP Monoblock electric motor |  |  | 16900.00 |  |  |  |
|  | Starter cable and accessories |  |  | 6101.00 |  |  |  |
| Sub total B] |  |  | 23001.00 | 3450.00 | 19551 | 434 |
| C] | Construction of water storage tank of 20000 liter capacity @ 4.5/lit |  |  | 92000.00 |  |  |  |
|  | Sub total C] |  |  | 92000.00 | 13800.00 | 78200.00 | 1738 |
| Total [A+B+C] |  |  | 188362.00 | 28254.00 | 160108.00 | 3558 |
| D] Management cost (20% of the total) |  |  | 37672.00 | 0.00 | 37672.00 | 837 |
| Grand Total |  |  | 226034.00 | 28254.00 | 197780.00 | 4395 |