Community-led, gravity flow piped water supply and sanitation system to four un-electrified villages

BUDGET

| Gravity flow water supply and sanitation system | Total project cost | Funds applying for | Community contribution |
| --- | --- | --- | --- |
|  | INR | USD | INR | USD | INR | USD |
| Water supply system in Adivasi Colony village | 317.856 | 6.542 | 250.429 | 5.155 | 67.427 | 1.388 |
| Water supply system in Nedisahi village | 364.476 | 7.502 | 284.425 | 5.854 | 80.051 | 1.648 |
| Water supply system in Talaganda village | 309.012 | 6.360 | 241.217 | 4.965 | 67.796 | 1.395 |
| Water supply system in Tangisahi village | 321.386 | 6.615 | 253.444 | 5.217 | 67.942 | 1.398 |
| TOTAL project costs | 1.312.730 | 27.020 | 1.029.515 | 21.191 | 283.216 | 5.829 |
|  |  |  | 78% |  |  | 22% |
| currency rate (22july09) | 1 USD = 48.5837 INR |  |  |  |  |

| Total cost gravity flow water supply system - Adivasi Colony village |  |  |  |
| --- | --- | --- | --- |
| Detailed budget (INR) |  |  |  |  |  |  |
| No. | Description of item | Unit | Quantity | Rate (INR) | Total costs (INR) | Funds apply for (INR) | Community contribution (INR) |
| 1 | Head works |  |  |  |  |  |  |
| 1.1. | Providing Sintex storage tank - 1, 3000 ltrs capacity with 10 staging | number | 1 | 49.554 | 49.554 | 41.012 | 8.542 |
| 1.2. | Cost of sintex tank | number | 1 | 13.500 | 13.500 | 13.500 | 0 |
| 1.3. | Providing ASTM PVC Piping arrangements for water tank | mtr. | 10 | 315 | 3.150 | 3.150 | 0 |
| 1.4. | 18' dia x 20' deep intake well | number | 1 | 58.443 | 58.443 | 54.361 | 4.082 |
| 1.5. | Transportation |  |  |  | 5.000 | 5.000 | 0 |
|  | Subtotal 1 - Head works |  |  |  | 129.647 | 117.023 | 12.624 |
| 2 | Cost of pipes and fittings |  |  |  |  |  |  |
| 2.1. | Cost of pipe |  |  |  |  |  |  |
| 2.1.1. | 40mm(8kgf) OD PVC pipe | Mtr | 2500 | 25 | 62.500 | 62.500 | 0 |
| 2.1.2. | 32mm(8kgf) OD PVC pipe | Mtr | 255 | 17 | 4.335 | 4.335 | 0 |
| 2.2. | Cost of valves |  |  |  |  |  |  |
| 2.2.1. | 32mm dia ball Valve | number | 2 | 800 | 1.600 | 1.600 | 0 |
| 2.2.2. | 15mm dia air valve | number | 2 | 1.000 | 2.000 | 2.000 | 0 |
| 2.3. | Cost of PVC fittings and specials |  |  |  | 6.684 | 6.684 | 0 |
|  | Subtotal 2 - Cost of pipes and fittings |  |  |  | 77.119 | 77.119 | 0 |
| 3 | Distribution system |  |  |  |  |  |  |
| 3.1. | Supplying all labour (MS / PVC Pipes, fittings and specials, including earthwork in excavation in all kinds of soil and refilling of trenches) |  |  |  |  |  |  |
| 3.1.1. | 40 mm OD PVC Pipe | Mtr | 2500 | 38 | 95.000 | 47.500 | 47.500 |
| 3.1.2. | 32 mm OD PVC Pipe | Mtr | 255 | 38 | 9.690 | 3.230 | 6.460 |
| 3.2. | Labour for fitting and fixing |  |  |  |  |  |  |
| 3.2.1. | 32 mm. ball valve | number | 2 | 100 | 200 | 200 | 0 |
| 3.2.2. | 15mm Air valve | number | 2 | 100 | 200 | 200 | 0 |
| 3.3. | Supplying all materials labour | number | 4 | 1.500 | 6.000 | 5.157 | 843 |
|  | Subtotal 3 - Distribution system |  |  |  | 111.090 | 56.287 | 54.803 |
|  | TOTAL ( 1+2+3) |  |  |  | 317.856 | 250.429 | 67.427 |
|  |  |  |  |  |  | 79% | 21% |

| Total cost gravity flow water supply system - Nedisahi village |  |  |  |
| --- | --- | --- | --- |
| Detailed budget (INR) |  |  |  |  |  |  |
| No. | Description of item | Unit | Quantity | Rate (INR) | Total costs (INR) | Funds apply for (INR) | Community contribution (INR) |
| 1 | Head works |  |  |  |  |  |  |
| 1.1. | Providing Sintex storage tank - 1, 3000 ltrs capacity with 10 staging | number | 1 | 49.554 | 49.554 | 41.012 | 8.542 |
| 1.2. | Cost of sintex tank | number | 1 | 18.450 | 18.450 | 18.450 | 0 |
| 1.3. | Providing ASTM PVC Piping arrangements for water tank | mtr. | 10 | 315 | 3.150 | 3.150 | 0 |
| 1.4. | 18' dia x 20' deep intake well | number | 1 | 58.443 | 58.443 | 54.361 | 4.082 |
| 1.5. | Transportation |  |  |  | 5.000 | 5.000 | 0 |
|  | Subtotal 1 - Head works |  |  |  | 134.597 | 121.973 | 12.624 |
| 2 | Cost of pipes and fittings |  |  |  |  |  |  |
| 2.1. | Cost of pipe |  |  |  |  |  |  |
| 2.1.1. | 40mm(8kgf) OD PVC pipe | Mtr | 3000 | 25 | 75.000 | 75.000 | 0 |
| 2.1.2. | 32mm(8kgf) OD PVC pipe | Mtr | 370 | 17 | 6.290 | 6.290 | 0 |
| 2.2. | Cost of valves |  |  |  |  |  |  |
| 2.2.1. | 32mm dia ball Valve | number | 3 | 800 | 2.400 | 2.400 | 0 |
| 2.2.2. | 15mm dia air valve | number | 2 | 1.000 | 2.000 | 2.000 | 0 |
| 2.3. | Cost of PVC fittings and specials |  |  |  | 8.129 | 8.129 | 0 |
|  | Subtotal 2 - Cost of pipes and fittings |  |  |  | 93.819 | 93.819 | 0 |
| 3 | Distribution system |  |  |  |  |  |  |
| 3.1. | Supplying all labour (MS / PVC Pipes, fittings and specials, including earthwork in excavation in all kinds of soil and refilling of trenches) |  |  |  |  |  |  |
| 3.1.1. | 40 mm OD PVC Pipe | Mtr | 3000 | 38 | 114.000 | 57.000 | 57.000 |
| 3.1.2. | 32 mm OD PVC Pipe | Mtr | 370 | 38 | 14.060 | 4.687 | 9.373 |
| 3.2. | Labour for fitting and fixing |  |  |  |  |  |  |
| 3.2.1. | 32 mm. ball valve | number | 3 | 100 | 300 | 300 | 0 |
| 3.2.2. | 15mm Air valve | number | 2 | 100 | 200 | 200 | 0 |
| 3.3. | Supplying all materials labour | number | 5 | 1.500 | 7.500 | 6.446 | 1.054 |
|  | Subtotal 3 - Distribution system |  |  |  | 136.060 | 68.633 | 67.427 |
|  | TOTAL ( 1+2+3) |  |  |  | 364.476 | 284.425 | 80.051 |
|  |  |  |  |  |  | 78% | 22% |

| Total cost gravity flow water supply system - Talaganda village |  |  |  |
| --- | --- | --- | --- |
| Detailed budget (INR) |  |  |  |  |  |  |
| No. | Description of item | Unit | Quantity | Rate (INR) | Total costs (INR) | Funds apply for (INR) | Community contribution (INR) |
| 1 | Head works |  |  |  |  |  |  |
| 1.1. | Providing Sintex storage tank - 1, 3000 ltrs capacity with 10 staging | number | 1 | 44.323 | 44.323 | 35.953 | 8.370 |
| 1.2. | Cost of sintex tank | number | 1 | 6.750 | 6.750 | 6.750 | 0 |
| 1.3. | Providing ASTM PVC Piping arrangements for water tank | mtr. | 10 | 315 | 3.150 | 3.150 | 0 |
| 1.4. | 18' dia x 20' deep intake well | number | 1 | 58.443 | 58.443 | 54.361 | 4.082 |
| 1.5. | Transportation |  |  |  | 5.000 | 5.000 | 0 |
|  | Subtotal 1 - Head works |  |  |  | 117.666 | 105.214 | 12.452 |
| 2 | Cost of pipes and fittings |  |  |  |  |  |  |
| 2.1. | Cost of pipe |  |  |  |  |  |  |
| 2.1.1. | 40mm(8kgf) OD PVC pipe | Mtr | 2500 | 25 | 62.500 | 62.500 | 0 |
| 2.1.2. | 32mm(8kgf) OD PVC pipe | Mtr | 268 | 17 | 4.556 | 4.556 | 0 |
| 2.2. | Cost of valves |  |  |  |  |  |  |
| 2.2.1. | 32mm dia ball Valve | number | 3 | 800 | 2.400 | 2.400 | 0 |
| 2.2.2. | 15mm dia air valve | number | 2 | 1.000 | 2.000 | 2.000 | 0 |
| 2.3. | Cost of PVC fittings and specials |  |  |  | 6.706 | 6.706 | 0 |
|  | Subtotal 2 - Cost of pipes and fittings |  |  |  | 78.162 | 78.162 | 0 |
| 3 | Distribution system |  |  |  |  |  |  |
| 3.1. | Supplying all labour (MS / PVC Pipes, fittings and specials, including earthwork in excavation in all kinds of soil and refilling of trenches) |  |  |  |  |  |  |
| 3.1.1. | 40 mm OD PVC Pipe | Mtr | 2500 | 38 | 95.000 | 47.500 | 47.500 |
| 3.1.2. | 32 mm OD PVC Pipe | Mtr | 268 | 38 | 10.184 | 3.395 | 6.789 |
| 3.2. | Labour for fitting and fixing |  |  |  |  |  |  |
| 3.2.1. | 32 mm. ball valve | number | 3 | 100 | 300 | 300 | 0 |
| 3.2.2. | 15mm Air valve | number | 2 | 100 | 200 | 200 | 0 |
| 3.3. | Supplying all materials labour | number | 5 | 1.500 | 7.500 | 6.446 | 1.054 |
|  | Subtotal 3 - Distribution system |  |  |  | 113.184 | 57.841 | 55.343 |
|  | TOTAL ( 1+2+3) |  |  |  | 309.012 | 241.217 | 67.795 |
|  |  |  |  |  |  | 78% | 22% |

| Total cost gravity flow water supply system - Tangisahi village |  |  |  |
| --- | --- | --- | --- |
| Detailed budget (INR) |  |  |  |  |  |  |
| No. | Description of item | Unit | Quantity | Rate (INR) | Total costs (INR) | Funds apply for (INR) | Community contribution (INR) |
| 1 | Head works |  |  |  |  |  |  |
| 1.1. | Providing Sintex storage tank - 1, 3000 ltrs capacity with 10 staging | number | 1 | 49.554 | 49.554 | 41.012 | 8.542 |
| 1.2. | Cost of sintex tank | number | 1 | 13.950 | 13.950 | 13.950 | 0 |
| 1.3. | Providing ASTM PVC Piping arrangements for water tank | mtr. | 10 | 315 | 3.150 | 3.150 | 0 |
| 1.4. | 18' dia x 20' deep intake well | number | 1 | 58.443 | 58.443 | 54.361 | 4.082 |
| 1.5. | Transportation |  |  |  | 5.000 | 5.000 | 0 |
|  | Subtotal 1 - Head works |  |  |  | 130.097 | 117.473 | 12.624 |
| 2 | Cost of pipes and fittings |  |  |  |  |  |  |
| 2.1. | Cost of pipe |  |  |  |  |  |  |
| 2.1.1. | 40mm(8kgf) OD PVC pipe | Mtr | 2500 | 25 | 62.500 | 62.500 | 0 |
| 2.1.2. | 32mm(8kgf) OD PVC pipe | Mtr | 267 | 17 | 4.539 | 4.539 | 0 |
| 2.2. | Cost of valves |  |  |  |  |  |  |
| 2.2.1. | 32mm dia ball Valve | number | 3 | 800 | 2.400 | 2.400 | 0 |
| 2.2.2. | 15mm dia air valve | number | 2 | 1.000 | 2.000 | 2.000 | 0 |
| 2.3. | Cost of PVC fittings and specials |  |  |  | 6.704 | 6.704 | 0 |
|  | Subtotal 2 - Cost of pipes and fittings |  |  |  | 78.143 | 78.143 | 0 |
| 3 | Distribution system |  |  |  |  |  |  |
| 3.1. | Supplying all labour (MS / PVC Pipes, fittings and specials, including earthwork in excavation in all kinds of soil and refilling of trenches) |  |  |  |  |  |  |
| 3.1.1. | 40 mm OD PVC Pipe | Mtr | 2500 | 38 | 95.000 | 47.500 | 47.500 |
| 3.1.2. | 32 mm OD PVC Pipe | Mtr | 267 | 38 | 10.146 | 3.382 | 6.764 |
| 3.2. | Labour for fitting and fixing |  |  |  |  |  |  |
| 3.2.1. | 32 mm. ball valve | number | 3 | 100 | 300 | 300 | 0 |
| 3.2.2. | 15mm Air valve | number | 2 | 100 | 200 | 200 | 0 |
| 3.3. | Supplying all materials labour | number | 5 | 1.500 | 7.500 | 6.446 | 1.054 |
|  | Subtotal 3 - Distribution system |  |  |  | 113.146 | 57.828 | 55.318 |
|  | TOTAL ( 1+2+3) |  |  |  | 321.386 | 253.444 | 67.942 |
|  |  |  |  |  |  | 79% | 21% |